Optimization of pipes netwoRks for drinkable water

Aurora Alexandrescu 1, Adina Simona Alexandrescu 1 & Adrian Constantin Alexandrescu 1

1Technical University “Gheorghe Asachi” of Iasi-Romania, Department of Machine Manufacturing Technology

Corresponding author Aurora Alexandrescu, E-mail address: auralexis@yahoo.com

Abstract: This paper proposes a solution of the problem of reducing production costs for supplied domestic water, which directly affects the reduction of the electric power consumption. The optimization process will take into account that the profitability of water distribution activity depends on the relationship between supply capability and operating costs, i.e. Therefore, the process depends on the volume of required investment, on the specific consumption electrical power for pumping, on the price of electricity, as well as on the volume of water billed on a monthly basis. The optimization calculation will use two target functions: total maximum efficiency and total electric power consumption required for transport of each cubic meter of supplied water, and cubic meter of sewage water, respectively.

Key words: Adduction, hydrophore, pipe network, pumping station, optimization and tank.