THERMOGRAPHY TECHNIQUE IN ARC WELDING PROCESS

Carmen Catalina Rusu, Luigi Renato Mistodie & Eugen Ghita1

1Dunarea de Jos University of Galati-Romania, Department of Manufacturing, Robotics and Welding Engineering

Corresponding author: Carmen Catalina Rusu, carmen.rusu@ugal.ro

Abstract: Thermography represents o modern technique used in thermal field investigation for different domains. In welding is used for systems monitoring, inspections and research. The aim of the temperature-based monitoring system is to determine the variations of thermal fields. The measurements are difficult, with incertitude due to the temperature variations vs. main parameters, the emissivity and reflectivity of the materials. Measurement accuracy can increase if proper welding calibration is realized. The paper focuses on particular aspects regarding thermal field analysis, using the above mentioned technique for gas metal arc welding (GMAW) and submerged arc welding (SAW) processes in shipbuilding, using ThermoVision A20M camera. The results of the thermography technique in arc welding process are used in future finite element analysis models validation.

Key words: welding, GMAW, thermography, camera calibration.