HAWT ROTOR PERFORMANCE WITH UNTWISTED AERODYNAMIC BLADES ON RATED OPERATING REGIME

Viorel Bostan, Radu Crudu

Technical University of Moldova, Department of Engineering and Management in Machine Building

Corresponding author: Radu Crudu, radu.crudu.md@gmail.com

Abstract: Horizontal axis wind turbine (HAWT) rotor with twisted aerodynamic blades is known to provide better performance characteristics than with untwisted blades. From another point of view, highly-twisted blades describe a more complicated three dimensional shape, which calls for a difficult manufacturing procedure. That is why small HAWTs manufacturers many times resort to low twist (beginning from zero twist) bladed rotors.

The paper presents a comparative mathematical and computational analysis of a 10 kW rated HAWT two similar rotors performance, with untwisted and highly-twisted aerodynamic blades, on rated operating regime. Simpler blade efficiency losses are not so big, which argues rationality of untwisted blades use in small HAWTs construction.

Key words: HAWT, wind turbine, aeolian rotor, twisted blade, aerodynamic shape, conversion efficiency.