ASPECTS REGARDING THE FABRICATION PROCESS OF A NEW FULLY SENSORIZED ARTIFICIAL HAND

Cosmin Berceanu1, Daniela Tarnita 2

1 University of Craiova - Romania, Faculty of Mechanics, Department of Applied Mechanics

2 University of Craiova - Romania, Faculty of Mechanics, Department of Applied Mechanics

Corresponding author: Berceanu Cosmin, berceanu_cosmin2000@yahoo.com

Abstract: This paper treats the concept and development stages of a new fully sensorized artificial hand at the Faculty of Mechanics, Craiova, Romania. Biomechanical characteristics of human hand have been analysed so that ergonomic and anthropometric aspects have been used as fundamental references in order to obtain a simple yet robust grasping mechanism. Using modern CAD software we have created a virtual model of the artificial hand-arm assembly. The next step was to simulate the behaviour of the grasping mechanism in the case of power and precision grasps. The fabrication process based on a lightweight material, exteroceptive sensor system with force and proximity sensors and embedded control system based on the latest mechatronic components are also topics of this paper.

Key words: fabrication, robotic, sensors, artificial hand