a New fabrication method for a computer controlled artificial hand with electric actuators

Berceanu Cosmin 1 & Tarniţă Daniela 2

1 University of Craiova, Romania, Faculty of Mechanics, Department of Applied Mechanics

2 University of Craiova, Romania, Faculty of Mechanics, Department of Applied Mechanics

Corresponding author: Berceanu Cosmin, berceanu_cosmin2000@yahoo.com

Abstract: This paper presents a new artificial anthropomorphic hand, focusing on the concepts that allow a modern control strategy having in centre the computer and a modern fabrication method based on a 3D printing process of the mechanical parts that compose the artificial hand. The artificial hand presented in this paper can be used for an amputee as a hand or upper limb prosthetic device or for a robot as a gripping device. Although similarities can be found between prosthetic and robotic hands (mechanical model, actuation, sensors) one can state also the main difference between the two: the method of control which is based mainly on mioelectric signals in the case of prosthetic hands rather than various signals collected from the exteroceptive and proprioceptive sensor system.

Key words: rapid prototyping, computer control, artificial hand.